## Rev History
Current Revisions
Rev | Date | Changes
1.0 | 2021-01-29 | Initial Release

## Correlation plan
SUPPLIER MEASUREMENT CORRELATION PLAN | [14 empty] | Rev 1.0
Part Info | APQP Record: |  | Part Number: | Revision: |  | Part Name: |  | Program Name: |  | Supplier Name: |  |  | Correlation Scope: | Both CMM & Gage Dimension
| Please Complete CMM Section Below Only (click on this link to access this section) |  |  |  | Sequence No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Roadmap No.
| Please Complete Gage Section Below Only (click on this link to access this section) |  |  |  | Dimension
Tolerance
| Complete Both CMM and Gage Sections Below |  |  |  | Class
Inspection Method
Sample Qty. for Correlation
CMM | CMM Measurement Assessment (Equipment/Program/Fixture) |  |  |  |  | 1: Part fixed & Probe tip System
| 1. Do we use same CMM brand / model with Nexteer receiving plant Model means: - Scan type or Dot type. - Scan type inculding Fix sensor or Rotate sensor. |  |  |  |  | 1: 1-1. CMM Fixture Design concept picture (3D model or print, with part)
a. If No; What equipment are you planning on using <What is the brand / model of the equipment>?
2. Do we use the same program Program including: - Software version (Calpso version level for Zeiss). - Software type including Curve / PCM(Parameter Coded Measuring) / Gear Pro.
1-2. Part Clamping instruction
a. if Yes, i. Who is responsible for them
ii. Timing plan
b. if no, Clarify the reason.
| 3. Do we use the same fixtures |  |  |  |  | 1: 2. Probe tip system (probe tip name/size list, with Probe tip pic)
a. if Yes, i. Who is responsible for them
ii. Timing plan
iii. Design concept approved by Nexteer
iv. Cost Owner
b. if no, i. Clarify the reason.
ii. Design concept approved by Nexteer
CMM Dimension Measurement information
Coordinate system establishment
1-1. Name of coordinate system
1-2. Probe tip name/number for this coordinate system. (Choose from "Probe tip system")
1-3. Measurement description (Use screenshot is preferred; below information should be captured in screen shot) 1). Sampling mode (scan or dot) / sampling area 2). Spatial Rotation 3). Planar Rotation 4). X Origin 5). Y Origin 6). Z Origin 7). Translation / rotation (X,Y,Z) / axis
Remark (if needed)
Feature measurement & it's evaluation
1-1. Probe tip name/number for this feature. (Choose from "Probe tip system")
1-2. Measurement description (Use screenshot is preferred; below information should be captured in screenshot) 1). Sampling area 2). Sampling mode (scan or dot)
1-3. Methodology to evaluate the measurement result
| CMM dimension correlation study |  |  |  |  | 1: Go to "CMM&Gage Correlation Result" form
Gage | Gage Measurement Assessment |  |  |  |  | 1: Click here to go to the top of this form
1. Has gage design concept been aligned and confirmed by Nexteer PQ and PE?
2. Do we use the same gage
a. if Yes, i. Who is responsible for design & build
ii. Cost Owner
iii. Timing Plan (if Nexteer responsible for design & build)
b. if no, i. Timing Plan for Nexteer owned gage
3. Gage acceptance inspection per gage print <if Supplier measurement is not capable, it should be measured by qualified 3rd party (eg. Certi. CNAS 17025 or ISO17025)>
| Gage correlation study |  |  |  |  | 1: Go to "CMM&Gage Correlation Result" form
Participants-
(Decline to sign if you don't agree)
| Nexteer - |  |  |  |  | 1: Supplier -
PQ-
PE-
GSM-
Note on B10: 1. if CMM equipment, program and fixture all are same, it is not necessary to do CMM correlation plan; 2. if CMM equipment is not same, it is not feasibile to have same program
Note on B48: Gage design concept must be approved by Nexteer

## CMM&Gage Correlation Result
CMM & GAGE CORRELATION RESULT | [11 empty] | Rev 1.0 | Note: For CMM / Variable gage dimension correlation: 1. ≥ 3 pcs samples for correlation is acceptable. For Attributable gage dimension correlation: 1. Both Nexteer and Supplier owned gages should meet design print. 2. 10pcs master samples shall be selected by more precision measurement tool (recommend to use CMM) 3. 3pcs shall be out of spec among 10 samples.
APQP record | Enter data in other tab | Part Number | Enter data in other tab | Revision | Enter data in other tab | Part Name | Enter data in other tab | Program name | Enter data in other tab | Supplier name | Enter data in other tab
Seq NO. | Roadmap NO. | Dimension | Tolerance | Class | Inspection Method | Supplier: |  | Nexteer: |  | Supplier Inspection Result | [9 empty] | Nexteer Inspection Result | [9 empty] | Deviation Ratio | [9 empty] | Judgement |  |  | Comments
[6 empty] | Gage NO. | -CMM / Variable gage: Repeatability Study result -Attributable gage: KAPPA result | Gage NO. | -CMM / Variable gage: Repeatability Study result -Attributable gage: KAPPA result | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Deviation #1 Ratio | Deviation #2 Ratio | Deviation #3 Ratio | Deviation #4 Ratio | Deviation #5 Ratio | Deviation #6 Ratio | Deviation #7 Ratio | Deviation #8 Ratio | Deviation #9 Ratio | Deviation #10 Ratio | OK | Reviewed & approved | NG
1 | See other tab | See other tab | See other tab | See other tab | See other tab
2 | See other tab | See other tab | See other tab | See other tab | See other tab
3 | See other tab | See other tab | See other tab | See other tab | See other tab
4 | See other tab | See other tab | See other tab | See other tab | See other tab
5 | See other tab | See other tab | See other tab | See other tab | See other tab
6 | See other tab | See other tab | See other tab | See other tab | See other tab
7 | See other tab | See other tab | See other tab | See other tab | See other tab
8 | See other tab | See other tab | See other tab | See other tab | See other tab
9 | See other tab | See other tab | See other tab | See other tab | See other tab
10 | See other tab | See other tab | See other tab | See other tab | See other tab
Responsibility |  | Name |  | Signature |  | Date | Correlation acceptance criteria: |  |  | Supplier Inspection Result #1: Correlation acceptance criteria:
Supplier Representative | [6 empty] | CMM and Variable gage Repeatability study & Correlation acceptance criteria: 1: Deviation ratio ≤10%: Pass 2: 10%＜Deviation ratio≤30%: Need peer review by PQ/PE/CMM Representative 3: Deviation ratio ＞30%: Fail Note: For True position, if deviation result more than 10%,---need study the individual deviation result on each coordinate direction |  |  | Supplier Inspection Result #1: Attributable Gage Correlation acceptance criteria: 1: Deviation ratio =0%: Pass 2: other deviation ratio: Fail.
Nexteer_PE | bar: Supplier Inspection Result #1 to Supplier Inspection Result #10
Nexteer_CMM Representative | bar: Supplier Inspection Result #1 to Supplier Inspection Result #10
Nexteer_AQE | bar: Supplier Inspection Result #1 to Supplier Inspection Result #10